## generators
GENERATOR_ID | GENERATOR_NAME | PROJECT_NAME | TYPE | CAPACITY_MW | STATUS | STATE | COUNTY | ISO | EIA_PLANT_ID | QUEUE_ID | EIA_GENERATOR_ID | FIRST_POWER_DATE | ASSUMED_RETIREMENT_DATE | REPORTED_RETIREMENT_DATE | POINT_OF_INTERCONNECTION | TRANSMISSION_OWNER | Owner | SOURCE
or:generator:444417 | Elora BESS | Elora BESS | Storage | 211 | Studies Undergoing | ON | Wellington | IESO |  | 776 |  | 2027-01-01 |  |  |  | IESO | Aypa Power Canada Development LP | https://elora.aypa.com/
or:generator:228545 | Monroe Power: BA | Monroe Power | Storage | 160 | IA Executed | IN | LaPorte | MISO |  | J1355 |  | 2026-05-01 |  |  | Stillwell 138kV Subtation | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | DTE Energy Electric Company | https://en.wikipedia.org/wiki/Monroe_Power_Plant
or:generator:437172 | St. Albert Solar | St. Albert Solar | Solar | 200 | Studies Undergoing | AB | Sturgeon | AESO |  | P2777 |  | 2028-02-01 | 2060-12-01 |  |  |  | CEIP | https://ceip.abmunis.ca/residential/locations/st-albert/
or:generator:260627 | Riverstart Solar Park II | Riverstart Solar Park II | Solar | 125 | Studies Undergoing | IN | Randolph | PJM |  | AE2-220 |  | 2027-02-01 | 2057-10-31 |  | Losantville 345 kV | AEP | NIL | NIL
or:generator:231853 | Chariot Solar II | Chariot Solar | Solar | 80 | IA Executed | IL | Saline | MISO |  | J1209 |  | 2026-07-01 | 2058-11-04 |  | Muddy - Crab Orchard 138kV Line | AMEREN ILLINOIS | NextEra Energy; Ranger Solar | https://www.power-technology.com/data-insights/power-plant-profile-chariot-solar-pv-park-us/
or:generator:229747 | Moonshine Solar | Moonshine Solar | Solar | 150 | IA Executed | IL | Clark | MISO |  | J1382 |  | 2026-07-01 | 2060-05-31 |  | Hutsonville - Neoga 138 kV Line tap | AMEREN ILLINOIS | NIL | NIL
or:generator:262234 | CO-Frosty Valley 2: PV | CO-Frosty Valley 2 | Solar | 20 | Studies Undergoing | MD | Anne Arundel | PJM |  | AF2-434 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | NIL | NIL
or:generator:437280 | Rich Valley Solar | Rich Valley Solar | Solar | 200 | Studies Undergoing | AB | Lac Ste. Anne | AESO |  | P2778 |  | 2028-02-01 | 2060-12-01 |  |  |  | Alberta Electric System Operator | https://www.interconnection.fyi/project/aeso-p2778
or:generator:300676 | Courthouse Solar: CHSL | Courthouse Solar | Solar | 167 | In Construction | VA | Charlotte | PJM | 66312 | AF2-222 - moved to TC1 | CHSL | 2025-01-01 | 2061-07-01 |  | Madisonville DP-Twitty's Creek 115 kV | Dominion Energy | Dominion Energy Inc | https://www.gem.wiki/Courthouse_solar_farm
or:generator:262710 | NC3 Ahoskie South Solar Project | NC3 Ahoskie South Solar Project | Solar | 5 | In Construction | NC | Hertford | PJM |  | AG1-037 |  | 2027-08-01 | 2062-08-29 |  | Ahoskie 34.5 kV | Dominion Energy | BNRG-NC4 Ahoskie North | https://www.power-technology.com/marketdata/power-plant-profile-nc4-ahoskie-north-solar-pv-park-us/
or:generator:262870 | Momentum Wind | Momentum Wind | Wind | 134.6667 | Studies Undergoing | DE | Sussex | PJM |  | AG2-348 |  | 2029-08-01 | 2050-08-31 |  | Indian River 230 kV II | Delmarva Power & Light Company | NIL | NIL
or:generator:260623 | Turkey Solar | Turkey Solar | Solar | 14.04 | In Construction | VA | Louisa | PJM |  | AG1-469 |  | 2027-08-01 | 2062-08-29 |  | Gordonsville 34.5 kV | Dominion Energy | NIL | NIL
or:generator:261283 | Gibson Solar I | Gibson Solar I | Solar | 100 | Suspended | VA | King George | PJM |  | AF1-114 |  | 2027-05-01 | 2062-05-01 |  | Oak Grove-Dahlgren 230 kV | Dominion Energy | Arevon Energy Management; Tenaska | https://www.power-technology.com/data-insights/power-plant-profile-gibson-solar-pv-park-i-us/
or:generator:229724 | Wold Creek Solar | Wold Creek Solar | Solar | 100 | IA Executed | MO | Montgomery | MISO |  | J1352 |  | 2026-07-01 | 2059-12-01 |  | Spencer Creek - Montgomery 345kV Line | Ameren | Apex Clean Energy | https://www.wolfcreeksolar.com/
or:generator:440160 | Erin MPC Solar Battery | Erin MPC Solar Battery | Storage | 43 | Studies Undergoing | AB | Kitscoty | AESO |  | P2838 |  | 2028-06-01 |  |  |  |  | NIL | NIL
or:generator:262964 | CO-Frosty Valley: PV | CO-Frosty Valley | Solar | 20 | Studies Undergoing | PA | Columbia | PJM |  | AF2-433 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | NIL | NIL
or:generator:436193 | Eagle Butte Wind | Eagle Butte Wind | Wind | 200 | Studies Undergoing | AB | Cypress | AESO |  | P2745 |  | 2028-01-01 | 2051-03-16 |  |  |  | NIL | NIL
or:generator:444420 | Fitzroy BESS | Fitzroy BESS | Storage | 250 | Studies Undergoing | ON | Fitzroy Harbour | IESO |  | 799 |  | 2027-06-01 |  |  |  | IESO | Brookfield Renewable Power Inc. | https://evolugen.com/facilities/south-march-bess/
or:generator:444441 | Oxford BESS | Oxford BESS | Storage | 125 | Studies Undergoing | ON | Oxford | IESO |  | 780 |  | 2026-10-01 |  |  |  | IESO | NIL | NIL
or:generator:262036 | Railroad Avenue Energy Storage | Railroad Avenue Energy Storage | Storage | 10 | Suspended | NJ | Bergen | PJM |  | AF2-416 |  | 2026-06-01 |  |  | Bergen 26 kV | Public Service Elec & Gas Co | Public Service Electric and Gas | https://www.interconnection.fyi/project/pjm-af2-416
or:generator:439819 | Dawn Harvest Storage | Dawn Harvest | Storage | 50 | In Construction | WI | Rock | MISO |  | J1460 |  | 2026-12-01 |  |  | Sunrise 138 kV Substation | American Transmission Co | NIL | NIL
or:generator:258440 | Fortis Rimbey 297S DER Gas | Fortis Rimbey 297S DER Gas | Natural Gas | 7.25 | In Construction | AB | Bluffton | AESO | WLC1 | P2515 |  | 2025-10-01 | 2072-12-21 |  |  | AltaLink | NIL | NIL
or:generator:260495 | Evergreen Solar | Evergreen Solar | Solar | 20 | In Construction | PA | Elk | PJM |  | AF2-295 |  | 2027-07-01 | 2062-07-30 |  | Wilcox-Paper City 46 kV | Allegheny Power | Evergreen Solar, Inc. | https://en.wikipedia.org/wiki/Evergreen_Solar
or:generator:260979 | CG Fulton County | CG Fulton County | Solar | 199 | Studies Undergoing | OH | Fulton | PJM |  | AF1-206 |  | 2028-05-01 | 2063-05-31 |  | East Fayette 138 kV | American Transmission Systems Inc | NIL | NIL
or:generator:444432 | Hedley BESS | Hedley BESS | Storage | 211 | Studies Undergoing | ON | Haldimand-norfolk | IESO |  | 777 |  | 2027-01-01 |  |  |  | IESO | NIL | NIL